## Alarmkey_Data
Verify AlarmKey | Alarmkey | Alarm Class (Number of parent alarm class in Netcool) | Service Impact 0 = Unknown 1 = Available 2 = Degraded 3 = Unavailable | Discard 0 = No (default) 1 = Yes | Impact 1-Extensive/Widespread 2-Significant/Large 3-Moderate/Limited 4-Minor/Localized | Urgency Urgency when creating a case in Remedy: 1-Critical 2-High 3-Medium 4-Low | Operational Categorisation 1 | Operational Categorisation 2 | Operational Categorisation 3 | Product Categorisation 3 | Alert Group | Resolutional Categorisation 1 | Resolutional Categorisation 2 | Resolutional Categorisation 3 | Description | Summary | Vantive 1 | Case Title
Yes | SMIP-SNMP_Link_Down | 20022 | 1 | 0 | 4 | 4 | Resilience
Yes | ambari_agent_disk_usage | 7951 | 1 | 0 | 4 | 3 | Resilience | Software Failure | Alarm
Yes | ambari_agent_version_select | 7951 | 1 | 0 | 4 | 3 | Resilience | Software Failure | Alarm
Yes | ambari_server_agent_heartbeat | 7951 | 1 | 0 | 4 | 3 | Resilience | Software Failure | Alarm

## CID_ComputerSystem
Verify_CID | CI Name | Component ID | Full Name | External Ref | Additional Info | Production Categorization Tier 1 | Production Categorization Tier 2 | Production Categorization Tier 3 | Product Name | Manufacturer | Asset Lifecycle Status | Operational Status | Managed By | Master Service Flag | Environment | Primary Capability | Security Domain | Site | Owner Name | Owner Contact | Class Of Service | Vendor Support Level | Virtual Server | Virtualisation Type | Contract Serial Number | Management IP | Domain | Room | Grid Reference | Rack Position | Number of Us | OS/Firmware Version | Short Description | Host Name | Alternate ID | Asset ID | Instance ID | Dataset ID
Yes | mnmlw-r730-55 | mnmlw-r730-55 | mnmlw-r730-55 | mnmlw-r730-55 | Reference – App Server | Hardware | Processing Unit | Server | Dell R730 | Dell | Deployed | Operational | IT Platforms | Testing | Reference | Server | MBN | Marlow |  |  | Gold | Gold + (24x7 - 4hr response) | No |  | 67HJG52 | 172.20.201.69 | MBN
Yes | mnmlw-r730-56 | mnmlw-r730-56 | mnmlw-r730-56 | mnmlw-r730-56 | Reference – App Server | Hardware | Processing Unit | Server | Dell R730 | Dell | Deployed | Operational | IT Platforms | Testing | Reference | Server | MBN | Marlow |  |  | Gold | Gold + (24x7 - 4hr response) | No |  | 27HJG52 | 172.20.201.70 | MBN
Yes | mnmlw-r730-45.uk.pri.o2.com | mnmlw-r730-45 | mnmlw-r730-45 | mnmlw-r730-45 |  | Hardware | Processing unit | Server | PowerEdge R730 | Dell Inc. | Deployed | Operational | IT Platforms | Testing | Reference | Server | MBN | Marlow |  |  | Gold | Gold + (24x7 - 4hr response)
Yes | mnmlw-r730-46.uk.pri.o2.com | mnmlw-r730-46 | mnmlw-r730-46 | mnmlw-r730-46 |  | Hardware | Processing unit | Server | PowerEdge R730 | Dell Inc. | Deployed | Operational | IT Platforms | Testing | Reference | Server | MBN | Marlow |  |  | Gold | Gold + (24x7 - 4hr response)
Yes | UKMLWBOS006 | UKMLWBOS006 | UKMLWBOS006 | ukmlwbos006 | Ref App server | Hardware | Processing Unit | Server | Dell R730 | Dell1 | Deployed | Operational | WP Server 1LS | Testing | Reference | Server | MBN | Marlow |  |  | Gold | Gold + (24x7 - 4hr response) |  |  | 7XLJG52 | 172.20.214.33 | MBN

## CID_BusinessApplication
Verify_CID | CI Name | Short Description | Additional Info | Production Categorization Tier 1 | Production Categorization Tier 2 | Production Categorization Tier 3 | Product Name | Manufacturer | Managed By | Asset Lifecycle Status | Operational Status | Master Service Flag | Owner Name | Owner Contact | Asset ID | Vendor Support Level | Disaster Recovery Capability | Supplier Name | Instance ID | Dataset ID
Yes | mnmlw-r730-57:1099 | mnmlw-r730-57:1099 | Application Port | Application | COTS | Software | Operational Intelligence - Vitria | Vitria | Operational Intelligence Support | Deployed | Operational | Testing
Yes | mnmlw-r730-57:1199 | mnmlw-r730-57:1199 | Application Port | Application | COTS | Software | Operational Intelligence - Vitria | Vitria | Operational Intelligence Support | Deployed | Operational | Testing
No | mnmlw-r730-57:1299 | mnmlw-r730-57:1299 | Application Port | Application | COTS | Software | Operational Intelligence - Vitria | Vitria | Operational Intelligence Support | Deployed | Operational | Testing
No | mnmlw-r730-57:1399 | mnmlw-r730-57:1399 | Application Port | Application | COTS | Software | Operational Intelligence - Vitria | Vitria | Operational Intelligence Support | Deployed | Operational | Testing